COST FORM

(Attachment H)

- Annual Rates for Preventative Maintenance Services Contract:

Kohler 85 R88, KW75, KVA 93.75, AMP 260, 3 Phase, 60 Cycle, 120/208 Volt, 1800 EPM PF 0.8, Natural Gas

$______________________

Kohler 30RZ, 81V, 120/208 Volt, 3 Phase, Model 4P5, 30/38 KVA, Natural Gas

$______________________

Demco MO GNG60, 50 KW, 120/208 Volt, 174A, PF 32.5, 60 HZ, 3 Phase, 1088 RPM, Natural Gas

$______________________

Generac Model SC100. 100KW, 125 KVA, 120/208 Volt, 3 Phase, 4 Wire, 1800 RPM 60 HZ R 0.8 PF, Natural Gas

$______________________

Generac Model SC085, 85KS, 106 KVA, 120/208 Volt, 3 Phase, 4 Wire, 1800 RPM, 60 HZ R 0.8 PF, Natural Gas

$______________________

- Hourly Rate on Additional Service

Repairs completed between the

hours of 8:00 a.m. and 4:30 p.m.

Straight Time

Service Technician			$______________________

- Repairs completed between the

hours of 4:30 p.m. and 8:30 a.m.

Over Time

Service Technician			$______________________

4. Material Markup on Parts	   		_____________________%

5. Travel and/or Mileage Rates:		$_____________________

6.  Annual Rates for Preventative Maintenance Services Contract:

Caterpillar Model C15, 350KW, 208/120 Volt, 569 HP, Diesel

$______________________

7. Hourly Rate on Additional Service

Repairs completed between the

hours of 8:00 a.m. and 4:30 p.m.

Straight Time

Service Technician			$______________________

8. Repairs completed between the

hours of 4:30 p.m. and 8:30 a.m.

Over Time

Service Technician			$______________________

9. Material Markup on Parts	   		_____________________%

10. Travel and/or Mileage Rates:		$_____________________

Authorized Signature 					Title